## DC20
CHARGING WORK 20 DC | [6 empty] | CHARGING WORK 20 DC | [6 empty] | CHARGING WORK 20 DC | [6 empty] | CHARGING WORK 20 DC | [6 empty] | CHARGING WORK 20 DC
Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name:
Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location:
[5 empty] | NEW PLAN BOQ VGREEN - JAVA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - SUMATERA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - BALI NUSA TENGGARA ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - KALIMANTAN ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - SULAWESI ISLAND
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 7000000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 7500000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 7500000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 7500000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 8000000
1 | Certificat NIDI | 23000 | VA |  | 86 | 1978000 | 1 | Certificat NIDI | 23000 | VA |  | 86 | 1978000 | 1 | Certificat NIDI | 23000 | VA |  | 86 | 1978000 | 1 | Certificat NIDI | 23000 | VA |  | 86 | 1978000 | 1 | Certificat NIDI | 23000 | VA |  | 86 | 1978000
2 | Certificat SLO | 23000 | VA |  | 86 | 1978000 | 2 | Certificat SLO | 23000 | VA |  | 86 | 1978000 | 2 | Certificat SLO | 23000 | VA |  | 86 | 1978000 | 2 | Certificat SLO | 23000 | VA |  | 86 | 1978000 | 2 | Certificat SLO | 23000 | VA |  | 86 | 1978000
3 | Service PLN Connection | 1 | Lot |  | 3044000 | 3044000 | 3 | Service PLN Connection | 1 | Lot |  | 3544000 | 3544000 | 3 | Service PLN Connection | 1 | Lot |  | 3544000 | 3544000 | 3 | Service PLN Connection | 1 | Lot |  | 3544000 | 3544000 | 3 | Service PLN Connection | 1 | Lot |  | 4044000 | 4044000
B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 11600000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 12760000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 12760000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 13340000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 13340000
1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 460mm x 500mm x 600mm | 1 | Unit | Local | 4000000 | 4000000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 460mm x 500mm x 600mm | 1 | Unit | Local | 4400000 | 4400000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 460mm x 500mm x 600mm | 1 | Unit | Local | 4400000 | 4400000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 460mm x 500mm x 600mm | 1 | Unit | Local | 4600000 | 4600000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 460mm x 500mm x 600mm | 1 | Unit | Local | 4600000 | 4600000
2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1000000 | 1000000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1100000 | 1100000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1100000 | 1100000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1150000 | 1150000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1150000 | 1150000
3 | Installation EV charging DC 20kw | 1 | Unit | Local | 4500000 | 4500000 | 3 | Installation EV charging DC 20kw | 1 | Unit | Local | 4950000 | 4950000 | 3 | Installation EV charging DC 20kw | 1 | Unit | Local | 4950000 | 4950000 | 3 | Installation EV charging DC 20kw | 1 | Unit | Local | 5175000 | 5175000 | 3 | Installation EV charging DC 20kw | 1 | Unit | Local | 5175000 | 5175000
4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1500000 | 1500000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1650000 | 1650000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1650000 | 1650000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1725000 | 1725000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1725000 | 1725000
5 | Sticker EV Charger (DTF type) | 6 | Unit | Local | 100000 | 600000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000
C | CIVIL WORK - Parkir Lot |  |  |  |  | 4700000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5170000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5170000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5405000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5405000
1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2000000 | 2000000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2200000 | 2200000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2200000 | 2200000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2300000 | 2300000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2300000 | 2300000
2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 250000 | 500000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 275000 | 550000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 275000 | 550000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 287500 | 575000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 287500 | 575000
3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1300000 | 1300000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000
4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 900000 | 900000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000
D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 5905000 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 6495500 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 6495500 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 6790750 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 6790750
1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1200000 | 1200000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1320000 | 1320000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1320000 | 1320000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1380000 | 1380000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1380000 | 1380000
2 | Fuse 2 Ampere | 3 | Unit | Local | 50000 | 150000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 55000 | 165000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 55000 | 165000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 57500 | 172500 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 57500 | 172500
3 | Breaker (MCCB 40 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 900000 | 900000 | 3 | Breaker (MCCB 40 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 990000 | 990000 | 3 | Breaker (MCCB 40 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 990000 | 990000 | 3 | Breaker (MCCB 40 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1035000 | 1035000 | 3 | Breaker (MCCB 40 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1035000 | 1035000
4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 175000 | 350000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 192500 | 385000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 192500 | 385000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 201250 | 402500 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 201250 | 402500
5 | Phase Marking | 1 | Panel | Local | 150000 | 150000 | 5 | Phase Marking | 1 | Panel | Local | 165000 | 165000 | 5 | Phase Marking | 1 | Panel | Local | 165000 | 165000 | 5 | Phase Marking | 1 | Panel | Local | 172500 | 172500 | 5 | Phase Marking | 1 | Panel | Local | 172500 | 172500
6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 255000 | 255000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 280500 | 280500 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 280500 | 280500 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 293250 | 293250 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 293250 | 293250
7 | Rain Din | 1 | Unit | Local | 125000 | 125000 | 7 | Rain Din | 1 | Unit | Local | 137500 | 137500 | 7 | Rain Din | 1 | Unit | Local | 137500 | 137500 | 7 | Rain Din | 1 | Unit | Local | 143750 | 143750 | 7 | Rain Din | 1 | Unit | Local | 143750 | 143750
8 | Cable Duct | 1 | Panel | Local | 125000 | 125000 | 8 | Cable Duct | 1 | Panel | Local | 137500 | 137500 | 8 | Cable Duct | 1 | Panel | Local | 137500 | 137500 | 8 | Cable Duct | 1 | Panel | Local | 143750 | 143750 | 8 | Cable Duct | 1 | Panel | Local | 143750 | 143750
9 | Sticker Safety Sign | 1 | Unit | Local | 125000 | 125000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 137500 | 137500 | 9 | Sticker Safety Sign | 1 | Unit | Local | 137500 | 137500 | 9 | Sticker Safety Sign | 1 | Unit | Local | 143750 | 143750 | 9 | Sticker Safety Sign | 1 | Unit | Local | 143750 | 143750
10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 200000 | 200000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 220000 | 220000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 220000 | 220000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 230000 | 230000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 230000 | 230000
11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 300000 | 300000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 330000 | 330000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 330000 | 330000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 345000 | 345000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 345000 | 345000
12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 525000 | 525000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 577500 | 577500 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 577500 | 577500 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 603750 | 603750 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 603750 | 603750
13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 250000 | 500000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 275000 | 550000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 275000 | 550000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 287500 | 575000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 287500 | 575000
14 | Wiring Panel | 1 | Unit | Local | 1000000 | 1000000 | 14 | Wiring Panel | 1 | Unit | Local | 1100000 | 1100000 | 14 | Wiring Panel | 1 | Unit | Local | 1100000 | 1100000 | 14 | Wiring Panel | 1 | Unit | Local | 1150000 | 1150000 | 14 | Wiring Panel | 1 | Unit | Local | 1150000 | 1150000
E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 12795000 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 14074500 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 14074500 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 14714250 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 14714250
1 | Cable Power NYY 4x10 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 175200 | 4380000 | 1 | Cable Power NYY 4x10 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 192720 | 4818000 | 1 | Cable Power NYY 4x10 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 192720 | 4818000 | 1 | Cable Power NYY 4x10 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 201480 | 5037000 | 1 | Cable Power NYY 4x10 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 201480 | 5037000
2 | Cable Power NYY 4x10 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 175200 | 4380000 | 2 | Cable Power NYY 4x10 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 192720 | 4818000 | 2 | Cable Power NYY 4x10 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 192720 | 4818000 | 2 | Cable Power NYY 4x10 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 201480 | 5037000 | 2 | Cable Power NYY 4x10 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 201480 | 5037000
3 | Cable Ground NYA 6mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 18000 | 270000 | 3 | Cable Ground NYA 6mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 19800 | 297000 | 3 | Cable Ground NYA 6mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 19800 | 297000 | 3 | Cable Ground NYA 6mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 20700 | 310500 | 3 | Cable Ground NYA 6mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 20700 | 310500
4 | Flexible Conduit Metal | 30 | Mtr | Local | 42500 | 1275000 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 46750 | 1402500 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 46750 | 1402500 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 48875 | 1466250 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 48875 | 1466250
5 | Pipa Conduit | 30 | Mtr | Clipsal | 15000 | 450000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 16500 | 495000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 16500 | 495000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 17250 | 517500 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 17250 | 517500
6 | Sock Conduit | 3 | Unit | Clipsal | 15000 | 45000 | 6 | Sock Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 6 | Sock Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 6 | Sock Conduit | 3 | Unit | Clipsal | 17250 | 51750 | 6 | Sock Conduit | 3 | Unit | Clipsal | 17250 | 51750
7 | Elbow Conduit | 3 | Unit | Clipsal | 15000 | 45000 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 17250 | 51750 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 17250 | 51750
8 | Cable trenching and re-alignment | 30 | Mtr | Local | 65000 | 1950000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 71500 | 2145000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 71500 | 2145000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 74750 | 2242500 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 74750 | 2242500
F | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 1000000 | 1000000 | F | Biaya transport dan Survey (SUMATERA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (BALI NUSA TENGGARA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (KALIMANTAN) | 1 | Lot |  | 1150000 | 1150000 | F | Biaya transport dan Survey (SULAWESI) | 1 | Lot |  | 1150000 | 1150000
[5 empty] | Sub Total : | 43000000 | [5 empty] | Sub Total : | 47100000 | [5 empty] | Sub Total : | 47100000 | [5 empty] | Sub Total : | 48900000 | [5 empty] | Sub Total : | 49400000
[5 empty] | VAT 11% | 4730000 | [5 empty] | VAT 11% | 5181000 | [5 empty] | VAT 11% | 5181000 | [5 empty] | VAT 11% | 5379000 | [5 empty] | VAT 11% | 5434000
[5 empty] | Total Contractor Price | 47730000 | 41500 |  |  |  |  | Total Contractor Price | 52281000 | [5 empty] | Total Contractor Price | 52281000 | [5 empty] | Total Contractor Price | 54279000 | [5 empty] | Total Contractor Price | 54834000

## DC30
CHARGING WORK 30 DC | [6 empty] | CHARGING WORK 30 DC | [6 empty] | CHARGING WORK 30 DC | [6 empty] | CHARGING WORK 30 DC | [6 empty] | CHARGING WORK 30 DC
Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name:
Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location:
[5 empty] | NEW PLAN BOQ VGREEN - JAVA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - SUMATERA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - BALI NUSA TENGGARA ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - KALIMANTAN ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - SULAWESI ISLAND
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 9000000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 9500000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 9500000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 9500000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 10000000
1 | Certificat NIDI | 33000 | VA |  | 86 | 2838000 | 1 | Certificat NIDI | 33000 | VA |  | 86 | 2838000 | 1 | Certificat NIDI | 33000 | VA |  | 86 | 2838000 | 1 | Certificat NIDI | 33000 | VA |  | 86 | 2838000 | 1 | Certificat NIDI | 33000 | VA |  | 86 | 2838000
2 | Certificat SLO | 33000 | VA |  | 86 | 2838000 | 2 | Certificat SLO | 33000 | VA |  | 86 | 2838000 | 2 | Certificat SLO | 33000 | VA |  | 86 | 2838000 | 2 | Certificat SLO | 33000 | VA |  | 86 | 2838000 | 2 | Certificat SLO | 33000 | VA |  | 86 | 2838000
3 | Service PLN Connection | 1 | Lot |  | 3324000 | 3324000 | 3 | Service PLN Connection | 1 | Lot |  | 3824000 | 3824000 | 3 | Service PLN Connection | 1 | Lot |  | 3824000 | 3824000 | 3 | Service PLN Connection | 1 | Lot |  | 3824000 | 3824000 | 3 | Service PLN Connection | 1 | Lot |  | 4324000 | 4324000
B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 13600000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 14960000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 14960000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 15640000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 15640000
1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 500mm x 1280mm x 800mm | 1 | Unit | Local | 5250000 | 5250000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 500mm x 1280mm x 800mm | 1 | Unit | Local | 5775000 | 5775000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 500mm x 1280mm x 800mm | 1 | Unit | Local | 5775000 | 5775000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 500mm x 1280mm x 800mm | 1 | Unit | Local | 6037500 | 6037500 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 500mm x 1280mm x 800mm | 1 | Unit | Local | 6037500 | 6037500
2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1000000 | 1000000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1100000 | 1100000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1100000 | 1100000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1150000 | 1150000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1150000 | 1150000
3 | Installation EV charging DC 30kw | 1 | Unit | Local | 5250000 | 5250000 | 3 | Installation EV charging DC 30kw | 1 | Unit | Local | 5775000 | 5775000 | 3 | Installation EV charging DC 30kw | 1 | Unit | Local | 5775000 | 5775000 | 3 | Installation EV charging DC 30kw | 1 | Unit | Local | 6037500 | 6037500 | 3 | Installation EV charging DC 30kw | 1 | Unit | Local | 6037500 | 6037500
4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1500000 | 1500000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1650000 | 1650000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1650000 | 1650000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1725000 | 1725000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1725000 | 1725000
5 | Sticker EV Charger | 6 | Unit | Local | 100000 | 600000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000
C | CIVIL WORK - Parkir Lot |  |  |  |  | 4700000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5170000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5170000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5405000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 5405000
1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2000000 | 2000000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2200000 | 2200000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2200000 | 2200000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2300000 | 2300000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 1 | Unit | Local | 2300000 | 2300000
2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 250000 | 500000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 275000 | 550000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 275000 | 550000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 287500 | 575000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 2 | unit | Rubber | 287500 | 575000
3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1300000 | 1300000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000
4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 900000 | 900000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000
D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 6505000 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 7155500 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 7155500 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 7480750 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 7480750
1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1200000 | 1200000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1320000 | 1320000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1320000 | 1320000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1380000 | 1380000 | 1 | AC Panel with Dimension 300x400x200 mm | 1 | Unit | Outdooor Type | 1380000 | 1380000
2 | Fuse 2 Ampere | 3 | Unit | Local | 50000 | 150000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 55000 | 165000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 55000 | 165000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 57500 | 172500 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 57500 | 172500
3 | Breaker (MCCB 63 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1250000 | 1250000 | 3 | Breaker (MCCB 63 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1375000 | 1375000 | 3 | Breaker (MCCB 63 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1375000 | 1375000 | 3 | Breaker (MCCB 63 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1437500 | 1437500 | 3 | Breaker (MCCB 63 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1437500 | 1437500
4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 175000 | 350000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 192500 | 385000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 192500 | 385000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 201250 | 402500 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 201250 | 402500
5 | Phase Marking | 1 | Panel | Local | 150000 | 150000 | 5 | Phase Marking | 1 | Panel | Local | 165000 | 165000 | 5 | Phase Marking | 1 | Panel | Local | 165000 | 165000 | 5 | Phase Marking | 1 | Panel | Local | 172500 | 172500 | 5 | Phase Marking | 1 | Panel | Local | 172500 | 172500
6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 255000 | 255000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 280500 | 280500 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 280500 | 280500 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 293250 | 293250 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 293250 | 293250
7 | Rain Din | 1 | Unit | Local | 125000 | 125000 | 7 | Rain Din | 1 | Unit | Local | 137500 | 137500 | 7 | Rain Din | 1 | Unit | Local | 137500 | 137500 | 7 | Rain Din | 1 | Unit | Local | 143750 | 143750 | 7 | Rain Din | 1 | Unit | Local | 143750 | 143750
8 | Cable Duct | 1 | Panel | Local | 125000 | 125000 | 8 | Cable Duct | 1 | Panel | Local | 137500 | 137500 | 8 | Cable Duct | 1 | Panel | Local | 137500 | 137500 | 8 | Cable Duct | 1 | Panel | Local | 143750 | 143750 | 8 | Cable Duct | 1 | Panel | Local | 143750 | 143750
9 | Sticker Safety Sign | 1 | Unit | Local | 125000 | 125000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 137500 | 137500 | 9 | Sticker Safety Sign | 1 | Unit | Local | 137500 | 137500 | 9 | Sticker Safety Sign | 1 | Unit | Local | 143750 | 143750 | 9 | Sticker Safety Sign | 1 | Unit | Local | 143750 | 143750
10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 200000 | 200000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 220000 | 220000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 220000 | 220000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 230000 | 230000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 230000 | 230000
11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 300000 | 300000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 330000 | 330000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 330000 | 330000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 345000 | 345000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 345000 | 345000
12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 525000 | 525000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 577500 | 577500 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 577500 | 577500 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 603750 | 603750 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 603750 | 603750
13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 250000 | 500000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 275000 | 550000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 275000 | 550000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 287500 | 575000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 287500 | 575000
14 | Wiring Panel | 1 | Unit | Local | 1250000 | 1250000 | 14 | Wiring Panel | 1 | Unit | Local | 1375000 | 1375000 | 14 | Wiring Panel | 1 | Unit | Local | 1375000 | 1375000 | 14 | Wiring Panel | 1 | Unit | Local | 1437500 | 1437500 | 14 | Wiring Panel | 1 | Unit | Local | 1437500 | 1437500
E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 18195000 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 20014500 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 20014500 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 20924250 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 20924250
1 | Cable Power NYY 4x16 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 277500 | 6937500 | 1 | Cable Power NYY 4x16 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 305250 | 7631250 | 1 | Cable Power NYY 4x16 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 305250 | 7631250 | 1 | Cable Power NYY 4x16 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 319125 | 7978125 | 1 | Cable Power NYY 4x16 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 319125 | 7978125
2 | Cable Power NYY 4x16 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 277500 | 6937500 | 2 | Cable Power NYY 4x16 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 305250 | 7631250 | 2 | Cable Power NYY 4x16 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 305250 | 7631250 | 2 | Cable Power NYY 4x16 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 319125 | 7978125 | 2 | Cable Power NYY 4x16 mm (from AC Panel to Charger) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 319125 | 7978125
3 | Cable Ground NYA 10mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 31000 | 465000 | 3 | Cable Ground NYA 10mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 34100 | 511500 | 3 | Cable Ground NYA 10mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 34100 | 511500 | 3 | Cable Ground NYA 10mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 35650 | 534750 | 3 | Cable Ground NYA 10mm with rod and grounding clamp | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 35650 | 534750
4 | Flexible Conduit Metal | 30 | Mtr | Local | 45500 | 1365000 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 50050 | 1501500 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 50050 | 1501500 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 52325 | 1569750 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 52325 | 1569750
5 | Pipa Conduit | 30 | Mtr | Clipsal | 15000 | 450000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 16500 | 495000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 16500 | 495000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 17250 | 517500 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 17250 | 517500
6 | Sock Conduit | 3 | Unit | Clipsal | 15000 | 45000 | 6 | Sock Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 6 | Sock Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 6 | Sock Conduit | 3 | Unit | Clipsal | 17250 | 51750 | 6 | Sock Conduit | 3 | Unit | Clipsal | 17250 | 51750
7 | Elbow Conduit | 3 | Unit | Clipsal | 15000 | 45000 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 16500 | 49500 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 17250 | 51750 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 17250 | 51750
8 | Cable trenching and re-alignment | 30 | Mtr | Local | 65000 | 1950000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 71500 | 2145000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 71500 | 2145000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 74750 | 2242500 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 74750 | 2242500
F | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 1000000 | 1000000 | F | Biaya transport dan Survey (SUMATERA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (BALI NUSA TENGGARA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (KALIMANTAN) | 1 | Lot |  | 1150000 | 1150000 | F | Biaya transport dan Survey (SULAWESI) | 1 | Lot |  | 1150000 | 1150000
[5 empty] | Sub Total : | 53000000 | [5 empty] | Sub Total : | 57900000 | [5 empty] | Sub Total : | 57900000 | [5 empty] | Sub Total : | 60100000 | [5 empty] | Sub Total : | 60600000
[5 empty] | VAT 11% | 5830000 | [5 empty] | VAT 11% | 6369000 | [5 empty] | VAT 11% | 6369000 | [5 empty] | VAT 11% | 6611000 | [5 empty] | VAT 11% | 6666000
[5 empty] | Total Contractor Price | 58830000 | [5 empty] | Total Contractor Price | 64269000 | [5 empty] | Total Contractor Price | 64269000 | [5 empty] | Total Contractor Price | 66711000 | [5 empty] | Total Contractor Price | 67266000

## DC60
CHARGING WORK 60 DC | [6 empty] | CHARGING WORK 60 DC | [6 empty] | CHARGING WORK 60 DC | [6 empty] | CHARGING WORK 60 DC | [6 empty] | CHARGING WORK 60 DC
Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name:
Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location:
[5 empty] | NEW PLAN BOQ VGREEN - JAVA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - SUMATERA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - BALI NUSA TENGGARA ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - KALIMANTAN ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - SULAWESI ISLAND
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 14888000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 15388000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 15388000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 15388000 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 15888000
1 | Certificat NIDI | 66000 | VA |  | 70 | 4620000 | 1 | Certificat NIDI | 66000 | VA |  | 70 | 4620000 | 1 | Certificat NIDI | 66000 | VA |  | 70 | 4620000 | 1 | Certificat NIDI | 66000 | VA |  | 70 | 4620000 | 1 | Certificat NIDI | 66000 | VA |  | 70 | 4620000
2 | Certificat SLO | 66000 | VA |  | 70 | 4620000 | 2 | Certificat SLO | 66000 | VA |  | 70 | 4620000 | 2 | Certificat SLO | 66000 | VA |  | 70 | 4620000 | 2 | Certificat SLO | 66000 | VA |  | 70 | 4620000 | 2 | Certificat SLO | 66000 | VA |  | 70 | 4620000
3 | Service PLN Connection | 1 | Lot |  | 5648000 | 5648000 | 3 | Service PLN Connection | 1 | Lot |  | 6148000 | 6148000 | 3 | Service PLN Connection | 1 | Lot |  | 6148000 | 6148000 | 3 | Service PLN Connection | 1 | Lot |  | 6148000 | 6148000 | 3 | Service PLN Connection | 1 | Lot |  | 6648000 | 6648000
B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 15600000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 17160000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 17160000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 17940000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 17940000
1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 6500000 | 6500000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 7150000 | 7150000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 7150000 | 7150000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 7475000 | 7475000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 7475000 | 7475000
2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1000000 | 1000000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1100000 | 1100000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1100000 | 1100000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1150000 | 1150000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1150000 | 1150000
3 | Installation EV charging DC 60kw | 1 | Unit | Local | 6000000 | 6000000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 6600000 | 6600000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 6600000 | 6600000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 6900000 | 6900000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 6900000 | 6900000
4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1500000 | 1500000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1650000 | 1650000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1650000 | 1650000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1725000 | 1725000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 1725000 | 1725000
5 | Sticker EV Charger | 6 | Unit | Local | 100000 | 600000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000
C | CIVIL WORK - Parkir Lot |  |  |  |  | 7200000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 7920000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 7920000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 8280000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 8280000
1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2000000 | 4000000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2200000 | 4400000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2200000 | 4400000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2300000 | 4600000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2300000 | 4600000
2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 250000 | 1000000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 275000 | 1100000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 275000 | 1100000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 287500 | 1150000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 287500 | 1150000
3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1300000 | 1300000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000
4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 900000 | 900000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000
D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 9182500 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 10100750 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 10100750 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 10559875 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 10559875
1 | AC Panel with Dimension 300x600x200 mm | 1 | Unit | Outdooor Type | 1500000 | 1500000 | 1 | AC Panel with Dimension 300x600x200 mm | 1 | Unit | Outdooor Type | 1650000 | 1650000 | 1 | AC Panel with Dimension 300x600x200 mm | 1 | Unit | Outdooor Type | 1650000 | 1650000 | 1 | AC Panel with Dimension 300x600x200 mm | 1 | Unit | Outdooor Type | 1725000 | 1725000 | 1 | AC Panel with Dimension 300x600x200 mm | 1 | Unit | Outdooor Type | 1725000 | 1725000
2 | Fuse 2 Ampere | 3 | Unit | Local | 50000 | 150000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 55000 | 165000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 55000 | 165000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 57500 | 172500 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 57500 | 172500
3 | Breaker (MCCB 125Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1500000 | 1500000 | 3 | Breaker (MCCB 125Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1650000 | 1650000 | 3 | Breaker (MCCB 125Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1650000 | 1650000 | 3 | Breaker (MCCB 125Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1725000 | 1725000 | 3 | Breaker (MCCB 125Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 1725000 | 1725000
4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 200000 | 400000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 220000 | 440000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 220000 | 440000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 230000 | 460000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 230000 | 460000
5 | Phase Marking | 1 | Panel | Local | 150000 | 150000 | 5 | Phase Marking | 1 | Panel | Local | 165000 | 165000 | 5 | Phase Marking | 1 | Panel | Local | 165000 | 165000 | 5 | Phase Marking | 1 | Panel | Local | 172500 | 172500 | 5 | Phase Marking | 1 | Panel | Local | 172500 | 172500
6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 500000 | 500000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 550000 | 550000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 550000 | 550000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 575000 | 575000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 575000 | 575000
7 | Rain Din | 1 | Unit | Local | 250000 | 250000 | 7 | Rain Din | 1 | Unit | Local | 275000 | 275000 | 7 | Rain Din | 1 | Unit | Local | 275000 | 275000 | 7 | Rain Din | 1 | Unit | Local | 287500 | 287500 | 7 | Rain Din | 1 | Unit | Local | 287500 | 287500
8 | Cable Duct | 1 | Panel | Local | 250000 | 250000 | 8 | Cable Duct | 1 | Panel | Local | 275000 | 275000 | 8 | Cable Duct | 1 | Panel | Local | 275000 | 275000 | 8 | Cable Duct | 1 | Panel | Local | 287500 | 287500 | 8 | Cable Duct | 1 | Panel | Local | 287500 | 287500
9 | Sticker Safety Sign | 1 | Unit | Local | 250000 | 250000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 275000 | 275000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 275000 | 275000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 287500 | 287500 | 9 | Sticker Safety Sign | 1 | Unit | Local | 287500 | 287500
10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 300000 | 300000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 330000 | 330000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 330000 | 330000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 345000 | 345000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 345000 | 345000
11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 500000 | 500000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 550000 | 550000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 550000 | 550000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 575000 | 575000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 575000 | 575000
12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 900000 | 900000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 990000 | 990000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 990000 | 990000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1035000 | 1035000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1035000 | 1035000
13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 500000 | 1000000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 550000 | 1100000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 550000 | 1100000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 575000 | 1150000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 575000 | 1150000
14 | Wiring Panel | 1 | Unit | Local | 1532500 | 1532500 | 14 | Wiring Panel | 1 | Unit | Local | 1685750 | 1685750 | 14 | Wiring Panel | 1 | Unit | Local | 1685750 | 1685750 | 14 | Wiring Panel | 1 | Unit | Local | 1762375 | 1762375 | 14 | Wiring Panel | 1 | Unit | Local | 1762375 | 1762375
E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 21277480 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 23405228 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 23405228 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 24469102 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 24469102
1 | Cable Power NYY 4x35mm (from KWH to AC Panel) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 402187 | 8043740 | 1 | Cable Power NYY 4x35mm (from KWH to AC Panel) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 442405.7 | 8848114 | 1 | Cable Power NYY 4x35mm (from KWH to AC Panel) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 442405.7 | 8848114 | 1 | Cable Power NYY 4x35mm (from KWH to AC Panel) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 462515.05 | 9250301 | 1 | Cable Power NYY 4x35mm (from KWH to AC Panel) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 462515.05 | 9250301
2 | Cable Power NYY 4x35mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 402187 | 8043740 | 2 | Cable Power NYY 4x35mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 442405.7 | 8848114 | 2 | Cable Power NYY 4x35mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 442405.7 | 8848114 | 2 | Cable Power NYY 4x35mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 462515.05 | 9250301 | 2 | Cable Power NYY 4x35mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 462515.05 | 9250301
3 | Cable Ground NYA 16mm with rod and grounding clamp | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 55500 | 1110000 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 61050 | 1221000 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 61050 | 1221000 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 63825 | 1276500 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 63825 | 1276500
4 | Flexible Conduit Metal | 30 | Mtr | Local | 50000 | 1500000 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 55000 | 1650000 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 55000 | 1650000 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 57500 | 1725000 | 4 | Flexible Conduit Metal | 30 | Mtr | Local | 57500 | 1725000
5 | Pipa Conduit | 30 | Mtr | Clipsal | 17500 | 525000 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 19250 | 577500 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 19250 | 577500 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 20125 | 603750 | 5 | Pipa Conduit | 30 | Mtr | Clipsal | 20125 | 603750
6 | Sock Conduit | 3 | Unit | Clipsal | 17500 | 52500 | 6 | Sock Conduit | 3 | Unit | Clipsal | 19250 | 57750 | 6 | Sock Conduit | 3 | Unit | Clipsal | 19250 | 57750 | 6 | Sock Conduit | 3 | Unit | Clipsal | 20125 | 60375 | 6 | Sock Conduit | 3 | Unit | Clipsal | 20125 | 60375
7 | Elbow Conduit | 3 | Unit | Clipsal | 17500 | 52500 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 19250 | 57750 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 19250 | 57750 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 20125 | 60375 | 7 | Elbow Conduit | 3 | Unit | Clipsal | 20125 | 60375
8 | Cable trenching and re-alignment | 30 | Mtr | Local | 65000 | 1950000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 71500 | 2145000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 71500 | 2145000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 74750 | 2242500 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 74750 | 2242500
F | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 1000000 | 1000000 | F | Biaya transport dan Survey (SUMATERA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (BALI NUSA TENGGARA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (KALIMANTAN) | 1 | Lot |  | 1150000 | 1150000 | F | Biaya transport dan Survey (SULAWESI) | 1 | Lot |  | 1150000 | 1150000
[5 empty] | Sub Total : | 69147980 | [5 empty] | Sub Total : | 75073978 | [5 empty] | Sub Total : | 75073978 | [5 empty] | Sub Total : | 77786977 | [5 empty] | Sub Total : | 78286977
[5 empty] | VAT 11% | 7606277.8 | [5 empty] | VAT 11% | 8258137.58 | [5 empty] | VAT 11% | 8258137.58 | [5 empty] | VAT 11% | 8556567.47 | [5 empty] | VAT 11% | 8611567.47
[5 empty] | Total Contractor Price | 76754257.8 | [5 empty] | Total Contractor Price | 83332115.58 | [5 empty] | Total Contractor Price | 83332115.58 | [5 empty] | Total Contractor Price | 86343544.47 | [5 empty] | Total Contractor Price | 86898544.47

## DC120
CHARGING WORK 120 DC | [6 empty] | CHARGING WORK 120 DC | [6 empty] | CHARGING WORK 120 DC | [6 empty] | CHARGING WORK 120 DC | [6 empty] | CHARGING WORK 120 DC
Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name: | [6 empty] | Site Name:
Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location: | [6 empty] | Site Location:
[5 empty] | NEW PLAN BOQ VGREEN - JAVA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - SUMATERA ISLAND | [5 empty] | 110% | NEW PLAN BOQ VGREEN - BALI NUSA TENGGARA ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - KALIMANTAN ISLAND | [5 empty] | 115% | NEW PLAN BOQ VGREEN - SULAWESI ISLAND
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE | NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 18807170 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 19473837 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 19473837 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 19473837 | A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 20140504
1 | Certificat NIDI | 131000 | VA |  | 45 | 5895000 | 1 | Certificat NIDI | 131000 | VA |  | 45 | 5895000 | 1 | Certificat NIDI | 131000 | VA |  | 45 | 5895000 | 1 | Certificat NIDI | 131000 | VA |  | 45 | 5895000 | 1 | Certificat NIDI | 131000 | VA |  | 45 | 5895000
2 | Certificat SLO | 131000 | VA |  | 45 | 5895000 | 2 | Certificat SLO | 131000 | VA |  | 45 | 5895000 | 2 | Certificat SLO | 131000 | VA |  | 45 | 5895000 | 2 | Certificat SLO | 131000 | VA |  | 45 | 5895000 | 2 | Certificat SLO | 131000 | VA |  | 45 | 5895000
3 | Service PLN Connection | 1 | Lot |  | 7017170 | 7017170 | 3 | Service PLN Connection | 1 | Lot |  | 7683837 | 7683837 | 3 | Service PLN Connection | 1 | Lot |  | 7683837 | 7683837 | 3 | Service PLN Connection | 1 | Lot |  | 7683837 | 7683837 | 3 | Service PLN Connection | 1 | Lot |  | 8350504 | 8350504
B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 26100000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 28710000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 28710000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 30015000 | B | CIVIL WORK - EV Charger Foundation | 1 | Unit |  |  | 30015000
1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 11000000 | 11000000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 12100000 | 12100000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 12100000 | 12100000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 12650000 | 12650000 | 1 | Concrete Pedestal Foundation (Include Anchor Bolts and Base Plate) 920mm x 600mm x 600mm | 1 | Unit | Local | 12650000 | 12650000
2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1500000 | 1500000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1650000 | 1650000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1650000 | 1650000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1725000 | 1725000 | 2 | Pole for mounting AC Panel and Apar | 1 | Unit | Local | 1725000 | 1725000
3 | Installation EV charging DC 60kw | 1 | Unit | Local | 10000000 | 10000000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 11000000 | 11000000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 11000000 | 11000000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 11500000 | 11500000 | 3 | Installation EV charging DC 60kw | 1 | Unit | Local | 11500000 | 11500000
4 | Grounding and Insulation Test Services | 1 | Unit | Local | 3000000 | 3000000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 3300000 | 3300000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 3300000 | 3300000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 3450000 | 3450000 | 4 | Grounding and Insulation Test Services | 1 | Unit | Local | 3450000 | 3450000
5 | Sticker EV Charger | 6 | Unit | Local | 100000 | 600000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 110000 | 660000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000 | 5 | Sticker EV Charger | 6 | Unit | Local | 115000 | 690000
C | CIVIL WORK - Parkir Lot |  |  |  |  | 7200000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 7920000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 7920000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 8280000 | C | CIVIL WORK - Parkir Lot |  |  |  |  | 8280000
1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2000000 | 4000000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2200000 | 4400000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2200000 | 4400000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2300000 | 4600000 | 1 | Parking Lot Painting (2,5 x 5 m) Services and Materials | 2 | Unit | Local | 2300000 | 4600000
2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 250000 | 1000000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 275000 | 1100000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 275000 | 1100000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 287500 | 1150000 | 2 | Wheel Stopper Rubber 56 x 16 x 10 cm | 4 | unit | Rubber | 287500 | 1150000
3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1300000 | 1300000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1430000 | 1430000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000 | 3 | Fire Extaungiser (Dry Powder 3kg) | 1 | pcs | ? | 1495000 | 1495000
4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 900000 | 900000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 990000 | 990000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000 | 4 | Box 30x55x20cm Fire Extingusher | 1 | Pcs | Local | 1035000 | 1035000
D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 17872500 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 19659750 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 19659750 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 20553375 | D | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 20553375
1 | AC Panel with Dimension 600x800x400 mm | 1 | Unit | Outdooor Type | 5000000 | 5000000 | 1 | AC Panel with Dimension 600x800x400 mm | 1 | Unit | Outdooor Type | 5500000 | 5500000 | 1 | AC Panel with Dimension 600x800x400 mm | 1 | Unit | Outdooor Type | 5500000 | 5500000 | 1 | AC Panel with Dimension 600x800x400 mm | 1 | Unit | Outdooor Type | 5750000 | 5750000 | 1 | AC Panel with Dimension 600x800x400 mm | 1 | Unit | Outdooor Type | 5750000 | 5750000
2 | Fuse 2 Ampere | 3 | Unit | Local | 100000 | 300000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 110000 | 330000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 110000 | 330000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 115000 | 345000 | 2 | Fuse 2 Ampere | 3 | Unit | Local | 115000 | 345000
3 | Breaker (MCCB 200 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 4812500 | 4812500 | 3 | Breaker (MCCB 200 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 5293750 | 5293750 | 3 | Breaker (MCCB 200 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 5293750 | 5293750 | 3 | Breaker (MCCB 200 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 5534375 | 5534375 | 3 | Breaker (MCCB 200 Ampere, 3PHASE) | 1 | Unit | Schneider/ABB | 5534375 | 5534375
4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 300000 | 600000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 330000 | 660000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 330000 | 660000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 345000 | 690000 | 4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 345000 | 690000
5 | Phase Marking | 1 | Panel | Local | 200000 | 200000 | 5 | Phase Marking | 1 | Panel | Local | 220000 | 220000 | 5 | Phase Marking | 1 | Panel | Local | 220000 | 220000 | 5 | Phase Marking | 1 | Panel | Local | 230000 | 230000 | 5 | Phase Marking | 1 | Panel | Local | 230000 | 230000
6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 500000 | 500000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 550000 | 550000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 550000 | 550000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 575000 | 575000 | 6 | Busbar Grounding (CU, 6 hole) | 1 | Unit | Local | 575000 | 575000
7 | Rain Din | 1 | Unit | Local | 250000 | 250000 | 7 | Rain Din | 1 | Unit | Local | 275000 | 275000 | 7 | Rain Din | 1 | Unit | Local | 275000 | 275000 | 7 | Rain Din | 1 | Unit | Local | 287500 | 287500 | 7 | Rain Din | 1 | Unit | Local | 287500 | 287500
8 | Cable Duct | 1 | Panel | Local | 250000 | 250000 | 8 | Cable Duct | 1 | Panel | Local | 275000 | 275000 | 8 | Cable Duct | 1 | Panel | Local | 275000 | 275000 | 8 | Cable Duct | 1 | Panel | Local | 287500 | 287500 | 8 | Cable Duct | 1 | Panel | Local | 287500 | 287500
9 | Sticker Safety Sign | 1 | Unit | Local | 250000 | 250000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 275000 | 275000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 275000 | 275000 | 9 | Sticker Safety Sign | 1 | Unit | Local | 287500 | 287500 | 9 | Sticker Safety Sign | 1 | Unit | Local | 287500 | 287500
10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 300000 | 300000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 330000 | 330000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 330000 | 330000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 345000 | 345000 | 10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 345000 | 345000
11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 500000 | 500000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 550000 | 550000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 550000 | 550000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 575000 | 575000 | 11 | Pilot Lamp (Red, Green, Yellow) | 1 | Set | Schneider/ABB | 575000 | 575000
12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1400000 | 1400000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1540000 | 1540000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1540000 | 1540000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1610000 | 1610000 | 12 | Volt Meter Digital With Selector (L-N, L-L) | 1 | Unit | Schneider/ABB | 1610000 | 1610000
13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 750000 | 1500000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 825000 | 1650000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 825000 | 1650000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 862500 | 1725000 | 13 | Terminal Block (IN OUT) AC Panel | 2 | Unit | Local | 862500 | 1725000
14 | Wiring Panel | 1 | Unit | Local | 2010000 | 2010000 | 14 | Wiring Panel | 1 | Unit | Local | 2211000 | 2211000 | 14 | Wiring Panel | 1 | Unit | Local | 2211000 | 2211000 | 14 | Wiring Panel | 1 | Unit | Local | 2311500 | 2311500 | 14 | Wiring Panel | 1 | Unit | Local | 2311500 | 2311500
E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 42037500 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 46241250 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 46241250 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 48343125 | E | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 48343125
1 | Cable Power NYY 4x70 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 780000 | 19500000 | 1 | Cable Power NYY 4x70 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 858000 | 21450000 | 1 | Cable Power NYY 4x70 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 858000 | 21450000 | 1 | Cable Power NYY 4x70 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 897000 | 22425000 | 1 | Cable Power NYY 4x70 mm (from KWH to AC Panel) | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 897000 | 22425000
2 | Cable Power NYY 4x70 mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 780000 | 15600000 | 2 | Cable Power NYY 4x70 mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 858000 | 17160000 | 2 | Cable Power NYY 4x70 mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 858000 | 17160000 | 2 | Cable Power NYY 4x70 mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 897000 | 17940000 | 2 | Cable Power NYY 4x70 mm (from AC Panel to Charger) | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 897000 | 17940000
3 | Cable Ground NYA 16mm with rod and grounding clamp | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 55500 | 1387500 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 61050 | 1526250 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 61050 | 1526250 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 63825 | 1595625 | 3 | Cable Ground NYA 16mm with rod and grounding clamp | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 63825 | 1595625
4 | Flexible Conduit Metal | 40 | Mtr | Local | 65000 | 2600000 | 4 | Flexible Conduit Metal | 40 | Mtr | Local | 71500 | 2860000 | 4 | Flexible Conduit Metal | 40 | Mtr | Local | 71500 | 2860000 | 4 | Flexible Conduit Metal | 40 | Mtr | Local | 74750 | 2990000 | 4 | Flexible Conduit Metal | 40 | Mtr | Local | 74750 | 2990000
5 | Pipa Conduit | 20 | Mtr | Clipsal | 25000 | 500000 | 5 | Pipa Conduit | 20 | Mtr | Clipsal | 27500 | 550000 | 5 | Pipa Conduit | 20 | Mtr | Clipsal | 27500 | 550000 | 5 | Pipa Conduit | 20 | Mtr | Clipsal | 28750 | 575000 | 5 | Pipa Conduit | 20 | Mtr | Clipsal | 28750 | 575000
6 | Sock Conduit | 4 | Unit | Clipsal | 25000 | 100000 | 6 | Sock Conduit | 4 | Unit | Clipsal | 27500 | 110000 | 6 | Sock Conduit | 4 | Unit | Clipsal | 27500 | 110000 | 6 | Sock Conduit | 4 | Unit | Clipsal | 28750 | 115000 | 6 | Sock Conduit | 4 | Unit | Clipsal | 28750 | 115000
7 | Elbow Conduit | 4 | Unit | Clipsal | 25000 | 100000 | 7 | Elbow Conduit | 4 | Unit | Clipsal | 27500 | 110000 | 7 | Elbow Conduit | 4 | Unit | Clipsal | 27500 | 110000 | 7 | Elbow Conduit | 4 | Unit | Clipsal | 28750 | 115000 | 7 | Elbow Conduit | 4 | Unit | Clipsal | 28750 | 115000
8 | Cable trenching and re-alignment | 30 | Mtr | Local | 75000 | 2250000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 82500 | 2475000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 82500 | 2475000 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 86250 | 2587500 | 8 | Cable trenching and re-alignment | 30 | Mtr | Local | 86250 | 2587500
F | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 1000000 | 1000000 | F | Biaya transport dan Survey (SUMATERA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (BALI NUSA TENGGARA) | 1 | Lot |  | 1100000 | 1100000 | F | Biaya transport dan Survey (KALIMANTAN) | 1 | Lot |  | 1150000 | 1150000 | F | Biaya transport dan Survey (SULAWESI) | 1 | Lot |  | 1150000 | 1150000
[5 empty] | Sub Total : | 113017170 | [5 empty] | Sub Total : | 123104837 | [5 empty] | Sub Total : | 123104837 | [5 empty] | Sub Total : | 127815337 | [5 empty] | Sub Total : | 128482004
[5 empty] | VAT 11% | 12431888.7 | [5 empty] | VAT 11% | 13541532.07 | [5 empty] | VAT 11% | 13541532.07 | [5 empty] | VAT 11% | 14059687.07 | [5 empty] | VAT 11% | 14133020.44
[5 empty] | Total Contractor Price | 125449058.7 | [5 empty] | Total Contractor Price | 136646369.07 | [5 empty] | Total Contractor Price | 136646369.07 | [5 empty] | Total Contractor Price | 141875024.07 | [5 empty] | Total Contractor Price | 142615024.44

## 6S1P
BATTERY SWAP STATION 6 SLOT - 1P
Site Name:
Site Location:
BOQ BSS 1 UNIT 6 SLOT VGREEN - JAVA ISLAND
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 3624400
1 | Certificat NIDI | 7700 | VA |  | 86 | 662200
2 | Certificat SLO | 7700 | VA |  | 86 | 662200
3 | Service PLN Connection | 1 | Lot |  | 2300000 | 2300000
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1300000
1 | Dynabolt BSS M12 | 1 | Set | Local | 300000 | 300000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 1000000 | 1000000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 1657000
1 | AC Panel with Dimension 30x40x20 cm | 1 | Unit | Outdooor Type | 912600 | 912600
2 | Fuse 2 Ampere | 1 | Unit | Local | 31300 | 31300
3 | Breaker 40 Ampere | 1 | Unit | Schneider/ABB | 211300 | 211300
4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 14400 | 28800
5 | Phase Marking | 1 | Panel | Local | 5900 | 5900
6 | Busbar Grounding | 1 | Unit | Local | 84500 | 84500
7 | Rail Din | 1 | Unit | Local | 45600 | 45600
8 | Cable Duct | 1 | Panel | Local | 43900 | 43900
9 | Sticker Safety Sign | 1 | Unit | Local | 6800 | 6800
10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 20300 | 20300
11 | Pilot Lamp (Green) | 1 | Unit | Schneider/ABB | 16900 | 16900
12 | Terminal Block (IN OUT AC Panel) | 2 | Unit | Schneider/ABB | 20300 | 40600
13 | Wiring Panel | 1 | Unit | Local | 208500 | 208500
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 5043000
1 | Cable Power NYYHY 3x10 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 170000 | 2550000
2 | Cable Ground BC 6 mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 50000 | 250000
3 | Conduit Black Steel 3/4inc | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 25000 | 375000
4 | Conduit Sock | 8 | Unit | Local | 12000 | 96000
5 | Conduit Elbow | 6 | Unit | Clipsal | 12000 | 72000
6 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 30000 | 450000
7 | Material & Service Grounding and Insulation Test (max 4 ohm) | 1 | Set | Local | 1250000 | 1250000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 500000 | 500000
[5 empty] | Sub Total : | 12124400
[5 empty] | VAT 11% | 1333684
[5 empty] | Total Contractor Price | 13458084

## 12S1P
BATTERY SWAP STATION 12 SLOT - 1P
Site Name:
Site Location:
BOQ BSS 1 UNIT 12 SLOT VGREEN - JAVA ISLAND
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 3906000
1 | Certificat NIDI | 11000 | VA |  | 73 | 803000
2 | Certificat SLO | 11000 | VA |  | 73 | 803000
3 | Service PLN Connection | 1 | Lot |  | 2300000 | 2300000
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1300000
1 | Dynabolt BSS M12 | 1 | Set | Local | 300000 | 300000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 1000000 | 1000000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 1818500
1 | AC Panel with Dimension 30x40x20 cm | 1 | Unit | Outdooor Type | 912600 | 912600
2 | Fuse 2 Ampere | 1 | Unit | Local | 31300 | 31300
3 | Breaker 63 Ampere | 1 | Unit | Schneider/ABB | 373000 | 373000
4 | Cable Gland (IN OUT AC Panel) | 2 | Unit | Local | 14300 | 28600
5 | Phase Marking | 1 | Panel | Local | 5900 | 5900
6 | Busbar Grounding | 1 | Unit | Local | 84500 | 84500
7 | Rail Din | 1 | Unit | Local | 45600 | 45600
8 | Cable Duct | 1 | Panel | Local | 43900 | 43900
9 | Sticker Safety Sign | 1 | Unit | Local | 6800 | 6800
10 | Lugs (Sizing Follow Cable and Termination) | 1 | Panel | Local | 20300 | 20300
11 | Pilot Lamp (Green) | 1 | Unit | Schneider/ABB | 16900 | 16900
12 | Terminal Block (IN OUT AC Panel) | 2 | Unit | Schneider/ABB | 20300 | 40600
13 | Wiring Panel | 1 | Unit | Local | 208500 | 208500
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 5475500
1 | Cable Power NYYHY 3x16 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 195000 | 2925000
2 | Cable Ground BC 10mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 61500 | 307500
3 | Conduit Black Steel 3/4inc | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 25000 | 375000
4 | Conduit Sock | 8 | Unit | Local | 12000 | 96000
5 | Conduit Elbow | 6 | Unit | Clipsal | 12000 | 72000
6 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 30000 | 450000
7 | Material & Service Grounding and Insulation Test (max 4 ohm) | 1 | Set | Local | 1250000 | 1250000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 500000 | 500000
[5 empty] | Sub Total : | 13000000
[5 empty] | VAT 11% | 1430000
[5 empty] | Total Contractor Price | 14430000