## DC20 (NON JAVA)
CHARGING WORK
Site Name:
Site Location:
NEW PLAN BOQ VGREEN - NON JAVA ISLAND
NO | Item | Spec | VOLUME |  | MERK | UNIT PRICE 20kw | TOTAL PRICE 20kw
A | Sertifikat NINDI & SLO and Handling Fee |  | 20kw dc | Lot |  |  | 5945945.9459
1 | Certificat NIDI |  | 23000 | VA | Local | 94.6 | 2175800
2 | Certificat SLO |  | 23000 | VA | Local | 94.6 | 2175800
3 | Service PLN Connection |  | 1 | Lot | Local | 3348400 | 3348400
| Price adjustment |  | 1 |  |  | -1754054.0541 | -1754054.0541
B | CIVIL WORK | [5 empty] | 721977
I | Foudation charger | [5 empty] | 794174.7
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 1.52 | m3 | Local | 138710 | 210839.2
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 1.49 | m3 | Local | 132000 | 196680
5 | Plastic |  | 0.12 | m2 | Local | 16005 | 1920.6
6 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.006 | m3 | Local | 1333750 | 8002.5
7 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.04 | m3 | Local | 1920600 | 76824
8 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.07 | m2 | Local | 323400 | 22638
9 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.6 | m2 | Local | 332904 | 199742.4
10 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 0.74 | kg | Local | 37345 | 27635.3
11 | Plastering outdoor | Mortar M75 cell thickness 15mm | 0.26 | m2 | Local | 90695 | 23580.7
12 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.26 | m2 | Local | 101200 | 26312
II | Foudation Panel + Apar ( or using pole ) | [5 empty] | 1180171.828
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 138710 | 13232.934
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 132000 | 12592.8
5 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.15 | m3 | Local | 1333750 | 200062.5
6 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.0774 | m3 | Local | 1920600 | 148654.44
7 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.792 | m2 | Local | 323400 | 256132.8
8 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.876 | m2 | Local | 332904 | 291623.904
9 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 2 | kg | Local | 37345 | 74690
10 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.55 | m2 | Local | 90695 | 140577.25
11 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.421 | m2 | Local | 101200 | 42605.2
C | CIVIL WORK - Parkir Lot | [5 empty] | 602855
1 | Line marking | Case 1: Line marking for parking bays on concrete surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.1 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.1 liter/m²). Case 2: Line marking for parking bays on asphalt surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.2 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.2 liter/m²). or approved equivalent. | 2.5 | m2 | Local | 53350 | 133375
2 | Car stops | Dimensions: L550 x W150 x H100 mm.Material: - Rubber-plastic composite - Reflective strips included with the product. | 2 | Pcs | Local | 234740 | 469480
D | Fire protection | [5 empty] | 2566953.95
1 | 3kg CO2 portable fire extinguisher |  | 1 | Cái | Local | 1562000 | 1562000
2 | Fire extinguisher rack (Dimensions: 500x200x200mm, 1.2mm thick sheet metal, powder coated), 100mm high legs | 2-bottle type | 1 | Cái | Local | 1004953.95 | 1004953.95
E | ELECTRICAL - Panel Distribution with acsoriess | [5 empty] | 5548400
1 | LT-PANEL electrical cabinet - 1x 20kW poles 3P |  | 1 | Panel | Se/Local | 5548400 | 5548400
E | Grounding | [5 empty] | 1650000
1 | Grounding Rod and insulation test |  | 1 | Pcs | Local | 1650000 | 1650000
F | Install Charger | [5 empty] | 3861000
4 | 20KW Charging Tower |  | 1 | Pcs | Local | 3201000 | 3201000
5 | Sticker EV Charger (DTF type) |  | 6 | Unit | Local | 110000 | 660000
G | CABLING AND ACCESSORIES INSTALLATION | [5 empty] | 16953130.15
1 | NA2XY (4Cx16)mm2 + E-NAYA (1Cx16)mm2 (from KWH to AC Panel) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 86513.427 | 2162835.675
2 | NA2XY (4Cx16)mm2 + E-NAYA (1Cx16)mm2 (from AC Panel to Charger) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 86513.427 | 2162835.675
3 | Cable Ground NYA 6mm with rod and grounding clamp |  | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 19800 | 297000
16 | HDPE DN40 |  | 60 | Mtr | Local | 47300 | 2838000
17 | Excavation of foundation pits and trenches by machine | Level I Land | 32.4 | m3 |  | 128040 | 4148496
18 | Backfilling with vibratory compactors | Compaction coefficient K>=0.9, utilize soil | 25.92 | m3 |  | 154715 | 4010212.8
19 | D300 warning tape |  | 60 | m |  | 16005 | 960300
20 | Other materials: Adhesives, tapes, plastic cable ties, fire starters, bolts, nuts, tie rod connectors, washers, expansion anchors, pipe clamps, rods Welding, Teflon tape, rubber-cushioned jute rope, rags, foam glue, gaskets, marking, labeling. Elbows, tees, pipe connectors, plastic pipe clamps, end caps (for conduit), conduit connectors, ladder connectors, grounding, terminal lugs <50mm2, etc. |  | 1 | Lot | Local | 373450 | 373450
H | Biaya transport dan Survey (JAVA) |  | 1 |  |  | 1100000 | 1100000
I | Total | [5 empty] | 40130433.8739

## DC30 (NON JAVA)
CHARGING WORK
Site Name:
Site Location:
NEW PLAN BOQ VGREEN - NON JAVA ISLAND
NO | Item | Spec |  |  | MERK | UNIT PRICE 30kw | TOTAL PRICE 30kw
A | Sertifikat NINDI & SLO and Handling Fee |  | 30kw dc | Lot |  |  | 6936936.9369
1 | Certificat NIDI |  | 33000 | VA | Local | 94.6 | 3121800
2 | Certificat SLO |  | 33000 | VA | Local | 94.6 | 3121800
3 | Service PLN Connection |  | 1 | Lot | Local | 3656400 | 3656400
| Price adjustment |  | 1 |  |  | -2963063.0631 | -2963063.0631
B | CIVIL WORK
I | Foudation charger | [5 empty] | 786511.363
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 138710 | 13232.934
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 132000 | 12592.8
5 | Plastic |  | 0.212 | m2 | Local | 16005 | 3393.06
6 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.0106 | m3 | Local | 1333750 | 14137.75
7 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.0774 | m3 | Local | 1920600 | 148654.44
8 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.292 | m2 | Local | 323400 | 94432.8
9 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.876 | m2 | Local | 332904 | 291623.904
10 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 2 | kg | Local | 37345 | 74690
11 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.005 | m2 | Local | 90695 | 91148.475
12 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.421 | m2 | Local | 101200 | 42605.2
II | Foudation Panel + Apar ( or using pole) | [5 empty] | 1180171.828
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 138710 | 13232.934
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 132000 | 12592.8
5 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.15 | m3 | Local | 1333750 | 200062.5
6 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.0774 | m3 | Local | 1920600 | 148654.44
7 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.792 | m2 | Local | 323400 | 256132.8
8 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.876 | m2 | Local | 332904 | 291623.904
9 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 2 | kg | Local | 37345 | 74690
10 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.55 | m2 | Local | 90695 | 140577.25
11 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.421 | m2 | Local | 101200 | 42605.2
C | CIVIL WORK - Parkir Lot | [5 empty] | 602855
1 | Line marking | Case 1: Line marking for parking bays on concrete surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.1 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.1 liter/m²). Case 2: Line marking for parking bays on asphalt surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.2 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.2 liter/m²). or approved equivalent. | 2.5 | m2 | Local | 53350 | 133375
2 | Car stops | Dimensions: L550 x W150 x H100 mm.Material: - Rubber-plastic composite - Reflective strips included with the product. | 2 | Pcs | Local | 234740 | 469480
D | Fire protection | [5 empty] | 2566953.95
1 | 3kg CO2 portable fire extinguisher |  | 1 | Pcs | Local | 1562000 | 1562000
2 | Fire extinguisher rack (Dimensions: 500x200x200mm, 1.2mm thick sheet metal, powder coated), 100mm high legs | 2-bottle type | 1 | Pcs | Local | 1004953.95 | 1004953.95
E | ELECTRICAL - Panel Distribution with acsoriess | [5 empty] | 6935500
2 | LT-PANEL electrical cabinet - 1x 30kW poles 3P |  | 1 | Panel | Se/Local | 6935500 | 6935500
E | Grounding | [5 empty] | 1650000
1 | Grounding Rod and insulation test |  | 1 | Pcs | Local | 1650000 | 1650000
F | Install Charger | [5 empty] | 5461500
3 | Charging Pole 30KW |  | 1 | Pcs | Local | 4801500 | 4801500
5 | Sticker EV Charger (DTF type) |  | 6 | Unit | Local | 110000 | 660000
G | CABLING AND ACCESSORIES INSTALLATION | [5 empty] | 22800687.415
4 | nA2Xy (3Cx25+1CX16) mm2 +e-nAya (1x16)mm2 (from KWH to AC Panel) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 176734.5723 | 4418364.3075
5 | nA2Xy (3Cx25+1CX16) mm2 +e-nAya (1x16)mm2 (from AC Panel to Charger) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 176734.5723 | 4418364.3075
6 | Cable Ground NYA 10mm with rod and grounding clamp |  | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 34100 | 511500
15 | HDPE DN50 |  | 60 | Mtr | Local | 66000 | 3960000
17 | Excavation of foundation pits and trenches by machine | Level I Land | 32.4 | m3 |  | 128040 | 4148496
18 | Backfilling with vibratory compactors | Compaction coefficient K>=0.9, utilize soil | 25.92 | m3 |  | 154715 | 4010212.8
19 | D300 warning tape |  | 60 | md |  | 16005 | 960300
20 | Other materials: Adhesives, tapes, plastic cable ties, fire starters, bolts, nuts, tie rod connectors, washers, expansion anchors, pipe clamps, rods Welding, Teflon tape, rubber-cushioned jute rope, rags, foam glue, gaskets, marking, labeling. Elbows, tees, pipe connectors, plastic pipe clamps, end caps (for conduit), conduit connectors, ladder connectors, grounding, terminal lugs <50mm2, etc. |  | 1 | Lot | Local | 373450 | 373450
H | Biaya transport dan Survey (JAVA) |  | 1 | Lot |  | 1100000 | 1100000
I | Total | [5 empty] | 50021116.4929

## DC60 (NON JAVA)
CHARGING WORK
Site Name:
Site Location:
NEW PLAN BOQ VGREEN - NON JAVA ISLAND
NO | Item | Spec |  |  | MERK | UNIT PRICE 60kw | TOTAL PRICE 60kw
A | Sertifikat NINDI & SLO and Handling Fee |  | 60kw dc | Lot |  |  | 9909909.9099
1 | Certificat NIDI |  | 66000 | VA | Local | 77 | 5082000
2 | Certificat SLO |  | 66000 | VA | Local | 77 | 5082000
3 | Service PLN Connection |  | 1 | Lot | Local | 6212800 | 6212800
| Price adjustment |  | 1 |  |  | -6466890.0901 | -6466890.0901
B | CIVIL WORK
I | Foudation charger | [5 empty] | 2155786.985
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.342 | m3 | Local | 138710 | 47438.82
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.342 | m3 | Local | 132000 | 45144
5 | Plastic |  | 0.76 | m2 | Local | 16005 | 12163.8
6 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.038 | m3 | Local | 1333750 | 50682.5
7 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.357 | m3 | Local | 1920600 | 685654.2
8 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.62 | m2 | Local | 323400 | 200508
9 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 1.86 | m2 | Local | 332904 | 619201.44
10 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 4 | kg | Local | 37345 | 149380
11 | Plastering outdoor | Mortar M75 cell thickness 15mm | 2.455 | m2 | Local | 90695 | 222656.225
12 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 1.215 | m2 | Local | 101200 | 122958
II | Foudation Panel + Apar ( or using pole) | [5 empty] | 1168204.4
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.1 | m3 | Local | 138710 | 13871
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.342 | m3 | Local | 132000 | 45144
5 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.038 | m3 | Local | 1333750 | 50682.5
6 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.1 | m3 | Local | 1920600 | 192060
7 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.62 | m2 | Local | 323400 | 200508
8 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 1.1 | m2 | Local | 332904 | 366194.4
9 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 4 | kg | Local | 37345 | 149380
10 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.1 | m2 | Local | 90695 | 99764.5
11 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.5 | m2 | Local | 101200 | 50600
C | CIVIL WORK - Parkir Lot | [5 empty] | 1205710
1 | Line marking | Case 1: Line marking for parking bays on concrete surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.1 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.1 liter/m²). Case 2: Line marking for parking bays on asphalt surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.2 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.2 liter/m²). or approved equivalent. | 5 | m2 | Local | 53350 | 266750
2 | Car stops | Dimensions: L550 x W150 x H100 mm.Material: - Rubber-plastic composite - Reflective strips included with the product. | 4 | Cái | Local | 234740 | 938960
D | Fire protection | [5 empty] | 2566953.95
1 | 3kg CO2 portable fire extinguisher |  | 1 | Cái | Local | 1562000 | 1562000
2 | Fire extinguisher rack (Dimensions: 500x200x200mm, 1.2mm thick sheet metal, powder coated), 100mm high legs | 2-bottle type | 1 | Cái | Local | 1004953.95 | 1004953.95
E | ELECTRICAL - Panel Distribution with acsoriess | [5 empty] | 11737000
3 | LT-PANEL electrical cabinet - 1x 60kW poles 3P |  | 1 | Panel | Se/Local | 11737000 | 11737000
E | Grounding | [5 empty] | 1650000
1 | Grounding Rod and insulation test |  | 1 | Pcs | Local | 1650000 | 1650000
F | Install Charger | [5 empty] | 7062000
2 | 60kW Charging Pole |  | 1 | Pcs | Local | 6402000 | 6402000
5 | Sticker EV Charger (DTF type) |  | 6 | Unit | Local | 110000 | 660000
G | CABLING AND ACCESSORIES INSTALLATION | [5 empty] | 28681581.445
7 | nA2Xy 3Cx95+N.(1X50)mm2+e-nAya (1x50)mm2 (from KWH to AC Panel) |  | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 291982.8161 | 5839656.3225
8 | nA2Xy 3Cx95+N.(1X50)mm2+e-nAya (1x50)mm2 (from AC Panel to Charger) |  | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 291982.8161 | 5839656.3225
9 | Cable Ground NYA 16mm with rod and grounding clamp |  | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 61050 | 915750
14 | HDPE DN110 |  | 60 | Mtr | Local | 109901 | 6594060
17 | Excavation of foundation pits and trenches by machine | Level I Land | 32.4 | m3 |  | 128040 | 4148496
18 | Backfilling with vibratory compactors | Compaction coefficient K>=0.9, utilize soil | 25.92 | m3 |  | 154715 | 4010212.8
19 | D300 warning tape |  | 60 | m |  | 16005 | 960300
20 | Other materials: Adhesives, tapes, plastic cable ties, fire starters, bolts, nuts, tie rod connectors, washers, expansion anchors, pipe clamps, rods Welding, Teflon tape, rubber-cushioned jute rope, rags, foam glue, gaskets, marking, labeling. Elbows, tees, pipe connectors, plastic pipe clamps, end caps (for conduit), conduit connectors, ladder connectors, grounding, terminal lugs <50mm2, etc. |  | 1 | Cái | Local | 373450 | 373450
H | Biaya transport dan Survey (JAVA) |  | 1 |  |  | 1100000 | 1100000
I | Total | [5 empty] | 67237146.6899

## DC20
CHARGING WORK
Site Name:
Site Location:
NEW PLAN BOQ VGREEN - JAVA ISLAND
NO | Item | Spec | VOLUME |  | MERK | UNIT PRICE 20kw | TOTAL PRICE 20kw
A | Sertifikat NINDI & SLO and Handling Fee |  | 20kw dc | Lot |  |  | 5405405.4054
1 | Certificat NIDI |  | 23000 | VA | Local | 86 | 1978000
2 | Certificat SLO |  | 23000 | VA | Local | 86 | 1978000
3 | Service PLN Connection |  | 1 | Lot | Local | 3044000 | 3044000
| Price adjustment |  | 1 |  |  | -1594594.5946 | -1594594.5946
B | CIVIL WORK | [5 empty] | 721977
I | Foudation charger | [5 empty] | 721977
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 1.52 | m3 | Local | 126100 | 191672
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 1.49 | m3 | Local | 120000 | 178800
5 | Plastic |  | 0.12 | m2 | Local | 14550 | 1746
6 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.006 | m3 | Local | 1212500 | 7275
7 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.04 | m3 | Local | 1746000 | 69840
8 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.07 | m2 | Local | 294000 | 20580
9 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.6 | m2 | Local | 302640 | 181584
10 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 0.74 | kg | Local | 33950 | 25123
11 | Plastering outdoor | Mortar M75 cell thickness 15mm | 0.26 | m2 | Local | 82450 | 21437
12 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.26 | m2 | Local | 92000 | 23920
II | Foudation Panel + Apar ( or using pole ) | [5 empty] | 1072883.48
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 126100 | 12029.94
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 120000 | 11448
5 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.15 | m3 | Local | 1212500 | 181875
6 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.0774 | m3 | Local | 1746000 | 135140.4
7 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.792 | m2 | Local | 294000 | 232848
8 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.876 | m2 | Local | 302640 | 265112.64
9 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 2 | kg | Local | 33950 | 67900
10 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.55 | m2 | Local | 82450 | 127797.5
11 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.421 | m2 | Local | 92000 | 38732
C | CIVIL WORK - Parkir Lot | [5 empty] | 548050
1 | Line marking | Case 1: Line marking for parking bays on concrete surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.1 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.1 liter/m²). Case 2: Line marking for parking bays on asphalt surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.2 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.2 liter/m²). or approved equivalent. | 2.5 | m2 | Local | 48500 | 121250
2 | Car stops | Dimensions: L550 x W150 x H100 mm.Material: - Rubber-plastic composite - Reflective strips included with the product. | 2 | Pcs | Local | 213400 | 426800
D | Fire protection | [5 empty] | 2333594.5
1 | 3kg CO2 portable fire extinguisher |  | 1 | Cái | Local | 1420000 | 1420000
2 | Fire extinguisher rack (Dimensions: 500x200x200mm, 1.2mm thick sheet metal, powder coated), 100mm high legs | 2-bottle type | 1 | Cái | Local | 913594.5 | 913594.5
E | ELECTRICAL - Panel Distribution with acsoriess | [5 empty] | 5044000
1 | LT-PANEL electrical cabinet - 1x 20kW poles 3P |  | 1 | Panel | Se/Local | 5044000 | 5044000
E | Grounding | [5 empty] | 1500000
1 | Grounding Rod and insulation test |  | 1 | Pcs | Local | 1500000 | 1500000
F | Install Charger | [5 empty] | 3510000
4 | 20KW Charging Tower |  | 1 | Pcs | Local | 2910000 | 2910000
5 | Sticker EV Charger (DTF type) |  | 6 | Unit | Local | 100000 | 600000
G | CABLING AND ACCESSORIES INSTALLATION | [5 empty] | 15411936.5
1 | NA2XY (4Cx16)mm2 + E-NAYA (1Cx16)mm2 (from KWH to AC Panel) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 78648.57 | 1966214.25
2 | NA2XY (4Cx16)mm2 + E-NAYA (1Cx16)mm2 (from AC Panel to Charger) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 78648.57 | 1966214.25
3 | Cable Ground NYA 6mm with rod and grounding clamp |  | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 18000 | 270000
16 | HDPE DN40 |  | 60 | Mtr | Local | 43000 | 2580000
17 | Excavation of foundation pits and trenches by machine | Level I Land | 32.4 | m3 |  | 116400 | 3771360
18 | Backfilling with vibratory compactors | Compaction coefficient K>=0.9, utilize soil | 25.92 | m3 |  | 140650 | 3645648
19 | D300 warning tape |  | 60 | m |  | 14550 | 873000
20 | Other materials: Adhesives, tapes, plastic cable ties, fire starters, bolts, nuts, tie rod connectors, washers, expansion anchors, pipe clamps, rods Welding, Teflon tape, rubber-cushioned jute rope, rags, foam glue, gaskets, marking, labeling. Elbows, tees, pipe connectors, plastic pipe clamps, end caps (for conduit), conduit connectors, ladder connectors, grounding, terminal lugs <50mm2, etc. |  | 1 | Lot | Local | 339500 | 339500
H | Biaya transport dan Survey (JAVA) |  | 1 |  |  | 1000000 | 1000000
I | Total | [5 empty] | 36547846.8854

## DC30
CHARGING WORK
Site Name:
Site Location:
NEW PLAN BOQ VGREEN - JAVA ISLAND
NO | Item | Spec |  |  | MERK | UNIT PRICE 30kw | TOTAL PRICE 30kw
A | Sertifikat NINDI & SLO and Handling Fee |  | 30kw dc | Lot |  |  | 6306306.3063
1 | Certificat NIDI |  | 33000 | VA | Local | 86 | 2838000
2 | Certificat SLO |  | 33000 | VA | Local | 86 | 2838000
3 | Service PLN Connection |  | 1 | Lot | Local | 3324000 | 3324000
| Price adjustment |  | 1 |  |  | -2693693.6937 | -2693693.6937
B | CIVIL WORK
I | Foudation charger | [5 empty] | 715010.33
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 126100 | 12029.94
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 120000 | 11448
5 | Plastic |  | 0.212 | m2 | Local | 14550 | 3084.6
6 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.0106 | m3 | Local | 1212500 | 12852.5
7 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.0774 | m3 | Local | 1746000 | 135140.4
8 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.292 | m2 | Local | 294000 | 85848
9 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.876 | m2 | Local | 302640 | 265112.64
10 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 2 | kg | Local | 33950 | 67900
11 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.005 | m2 | Local | 82450 | 82862.25
12 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.421 | m2 | Local | 92000 | 38732
II | Foudation Panel + Apar ( or using pole) | [5 empty] | 1072883.48
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 126100 | 12029.94
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.0954 | m3 | Local | 120000 | 11448
5 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.15 | m3 | Local | 1212500 | 181875
6 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.0774 | m3 | Local | 1746000 | 135140.4
7 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.792 | m2 | Local | 294000 | 232848
8 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.876 | m2 | Local | 302640 | 265112.64
9 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 2 | kg | Local | 33950 | 67900
10 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.55 | m2 | Local | 82450 | 127797.5
11 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.421 | m2 | Local | 92000 | 38732
C | CIVIL WORK - Parkir Lot | [5 empty] | 548050
1 | Line marking | Case 1: Line marking for parking bays on concrete surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.1 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.1 liter/m²). Case 2: Line marking for parking bays on asphalt surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.2 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.2 liter/m²). or approved equivalent. | 2.5 | m2 | Local | 48500 | 121250
2 | Car stops | Dimensions: L550 x W150 x H100 mm.Material: - Rubber-plastic composite - Reflective strips included with the product. | 2 | Pcs | Local | 213400 | 426800
D | Fire protection | [5 empty] | 2333594.5
1 | 3kg CO2 portable fire extinguisher |  | 1 | Pcs | Local | 1420000 | 1420000
2 | Fire extinguisher rack (Dimensions: 500x200x200mm, 1.2mm thick sheet metal, powder coated), 100mm high legs | 2-bottle type | 1 | Pcs | Local | 913594.5 | 913594.5
E | ELECTRICAL - Panel Distribution with acsoriess | [5 empty] | 6305000
2 | LT-PANEL electrical cabinet - 1x 30kW poles 3P |  | 1 | Panel | Se/Local | 6305000 | 6305000
E | Grounding | [5 empty] | 1500000
1 | Grounding Rod and insulation test |  | 1 | Pcs | Local | 1500000 | 1500000
F | Install Charger | [5 empty] | 4965000
3 | Charging Pole 30KW |  | 1 | Pcs | Local | 4365000 | 4365000
5 | Sticker EV Charger (DTF type) |  | 6 | Unit | Local | 100000 | 600000
G | CABLING AND ACCESSORIES INSTALLATION | [5 empty] | 20727897.65
4 | nA2Xy (3Cx25+1CX16) mm2 +e-nAya (1x16)mm2 (from KWH to AC Panel) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 160667.793 | 4016694.825
5 | nA2Xy (3Cx25+1CX16) mm2 +e-nAya (1x16)mm2 (from AC Panel to Charger) |  | 25 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 160667.793 | 4016694.825
6 | Cable Ground NYA 10mm with rod and grounding clamp |  | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 31000 | 465000
15 | HDPE DN50 |  | 60 | Mtr | Local | 60000 | 3600000
17 | Excavation of foundation pits and trenches by machine | Level I Land | 32.4 | m3 |  | 116400 | 3771360
18 | Backfilling with vibratory compactors | Compaction coefficient K>=0.9, utilize soil | 25.92 | m3 |  | 140650 | 3645648
19 | D300 warning tape |  | 60 | md |  | 14550 | 873000
20 | Other materials: Adhesives, tapes, plastic cable ties, fire starters, bolts, nuts, tie rod connectors, washers, expansion anchors, pipe clamps, rods Welding, Teflon tape, rubber-cushioned jute rope, rags, foam glue, gaskets, marking, labeling. Elbows, tees, pipe connectors, plastic pipe clamps, end caps (for conduit), conduit connectors, ladder connectors, grounding, terminal lugs <50mm2, etc. |  | 1 | Lot | Local | 339500 | 339500
H | Biaya transport dan Survey (JAVA) |  | 1 | Lot |  | 1000000 | 1000000
I | Total | [5 empty] | 45473742.2663

## DC60
CHARGING WORK
Site Name:
Site Location:
NEW PLAN BOQ VGREEN - JAVA ISLAND
NO | Item | Spec |  |  | MERK | UNIT PRICE 60kw | TOTAL PRICE 60kw
A | Sertifikat NINDI & SLO and Handling Fee |  | 60kw dc | Lot |  |  | 9009009.009
1 | Certificat NIDI |  | 66000 | VA | Local | 70 | 4620000
2 | Certificat SLO |  | 66000 | VA | Local | 70 | 4620000
3 | Service PLN Connection |  | 1 | Lot | Local | 5648000 | 5648000
| Price adjustment |  | 1 |  |  | -5878990.991 | -5878990.991
B | CIVIL WORK
I | Foudation charger | [5 empty] | 1959806.35
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.342 | m3 | Local | 126100 | 43126.2
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.342 | m3 | Local | 120000 | 41040
5 | Plastic |  | 0.76 | m2 | Local | 14550 | 11058
6 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.038 | m3 | Local | 1212500 | 46075
7 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.357 | m3 | Local | 1746000 | 623322
8 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.62 | m2 | Local | 294000 | 182280
9 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 1.86 | m2 | Local | 302640 | 562910.4
10 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 4 | kg | Local | 33950 | 135800
11 | Plastering outdoor | Mortar M75 cell thickness 15mm | 2.455 | m2 | Local | 82450 | 202414.75
12 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 1.215 | m2 | Local | 92000 | 111780
II | Foudation Panel + Apar ( or using pole) | [5 empty] | 1062004
1 | Excavation of foundation soil by machine combined with manual repair | - Grade I land - Transshipment horizontally, vertically, loading onto vehicles - Transportation method is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.1 | m3 | Local | 126100 | 12610
4 | Transporting soil to gather internally within the project | - Level I land, truck transportation, load capacity, the contractor proposed to BPTC to offer competitive prices - Distance <=1km - BP is a provisional estimate "the contractor surveys and offers other practical measures (if any) to ensure optimal/competitive costs" | 0.342 | m3 | Local | 120000 | 41040
5 | Concrete foundation lining, foundation bracing, foundation lining | Concrete with K-225, slump 12 ± 2cm. | 0.038 | m3 | Local | 1212500 | 46075
6 | Concrete foundation, foundation bracing, foundation | Concrete with B20, slump 12 ± 2cm. | 0.1 | m3 | Local | 1746000 | 174600
7 | Formwork of all kinds | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 0.62 | m2 | Local | 294000 | 182280
8 | Concrete formwork for foundation, foundation bracing, foundation, wall bracing, foundation wall, lobby, steps | Wooden formwork/plywood/shaped steel/... Contractors propose measures to offer competitive prices | 1.1 | m2 | Local | 302640 | 332904
9 | Supply and install anchor bolts | Property class 5.6, hot-dip galvanized on the threaded end, with the remaining part left self-colored (uncoated) | 4 | kg | Local | 33950 | 135800
10 | Plastering outdoor | Mortar M75 cell thickness 15mm | 1.1 | m2 | Local | 82450 | 90695
11 | External wall painting, foundation of cabinet, substation… | Jotun paint system consisting of 1 coat of primer and 2 coats of topcoat in accordance with the approved color sample | 0.5 | m2 | Local | 92000 | 46000
C | CIVIL WORK - Parkir Lot | [5 empty] | 1096100
1 | Line marking | Case 1: Line marking for parking bays on concrete surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.1 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.1 liter/m²). Case 2: Line marking for parking bays on asphalt surfaces - Surface cleaning.1st topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm Dry Film Thickness (DFT) (consumption rate: 0.2 liter/m²). - 2nd topcoat: Nippon Reflective Road Line Paint (Yellow), 35 µm DFT (consumption rate: 0.2 liter/m²). or approved equivalent. | 5 | m2 | Local | 48500 | 242500
2 | Car stops | Dimensions: L550 x W150 x H100 mm.Material: - Rubber-plastic composite - Reflective strips included with the product. | 4 | Cái | Local | 213400 | 853600
D | Fire protection | [5 empty] | 2333594.5
1 | 3kg CO2 portable fire extinguisher |  | 1 | Cái | Local | 1420000 | 1420000
2 | Fire extinguisher rack (Dimensions: 500x200x200mm, 1.2mm thick sheet metal, powder coated), 100mm high legs | 2-bottle type | 1 | Cái | Local | 913594.5 | 913594.5
E | ELECTRICAL - Panel Distribution with acsoriess | [5 empty] | 10670000
3 | LT-PANEL electrical cabinet - 1x 60kW poles 3P |  | 1 | Panel | Se/Local | 10670000 | 10670000
E | Grounding | [5 empty] | 1500000
1 | Grounding Rod and insulation test |  | 1 | Pcs | Local | 1500000 | 1500000
F | Install Charger | [5 empty] | 6420000
2 | 60kW Charging Pole |  | 1 | Pcs | Local | 5820000 | 5820000
5 | Sticker EV Charger (DTF type) |  | 6 | Unit | Local | 100000 | 600000
G | CABLING AND ACCESSORIES INSTALLATION | [5 empty] | 26074164.95
7 | nA2Xy 3Cx95+N.(1X50)mm2+e-nAya (1x50)mm2 (from KWH to AC Panel) |  | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 265438.9238 | 5308778.475
8 | nA2Xy 3Cx95+N.(1X50)mm2+e-nAya (1x50)mm2 (from AC Panel to Charger) |  | 20 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 265438.9238 | 5308778.475
9 | Cable Ground NYA 16mm with rod and grounding clamp |  | 15 | Mtr | Supreme/Kabel Metal/Jembo/BICC Berca | 55500 | 832500
14 | HDPE DN110 |  | 60 | Mtr | Local | 99910 | 5994600
17 | Excavation of foundation pits and trenches by machine | Level I Land | 32.4 | m3 |  | 116400 | 3771360
18 | Backfilling with vibratory compactors | Compaction coefficient K>=0.9, utilize soil | 25.92 | m3 |  | 140650 | 3645648
19 | D300 warning tape |  | 60 | m |  | 14550 | 873000
20 | Other materials: Adhesives, tapes, plastic cable ties, fire starters, bolts, nuts, tie rod connectors, washers, expansion anchors, pipe clamps, rods Welding, Teflon tape, rubber-cushioned jute rope, rags, foam glue, gaskets, marking, labeling. Elbows, tees, pipe connectors, plastic pipe clamps, end caps (for conduit), conduit connectors, ladder connectors, grounding, terminal lugs <50mm2, etc. |  | 1 | Cái | Local | 339500 | 339500
H | Biaya transport dan Survey (JAVA) |  | 1 |  |  | 1000000 | 1000000
I | Total | [5 empty] | 61124678.809

## 6S1P
BATTERY SWAP STATION 6 SLOT - 1P
Site Name:
Site Location:
BOQ BSS 1 UNIT 6 SLOT VGREEN (JAVA ISLAND)
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 3300000
1 | Certificat NIDI | 7700 | VA |  | 86 | 662200
2 | Certificat SLO | 7700 | VA |  | 86 | 662200
3 | Service PLN Connection | 1 | Lot |  | 2300000 | 2300000
| Price adjustment | 1 |  |  | -324400 | -324400
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1050000
1 | Dynabolt BSS M12 | 1 | Set | Local | 250000 | 250000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 800000 | 800000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 1500000
1 | LT-PANEL electrical cabinet - 1 Pack BSS 6 PIN 1P | 1 | Unit | Outdooor Type | 1500000 | 1500000
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 4475000
1 | Cable Power NYYHY 3x10 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 150000 | 2250000
2 | Cable NYA 6mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 50000 | 250000
3 | Steel Conduit 25mm (1") | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 35000 | 525000
4 | Grounding | 1 | Pcs |  | 1000000 | 1000000
5 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 30000 | 450000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 500000 | 500000
F | Civil-foundation |  |  |  |  | 472750
1 | Cement slurry bonding layer and leveling shims | 0,63 | m2 | Local | 69500 | 43750 | 43785
2 | Concrete foundation, foundation bracing -foundationConcrete with B20, slump 12 ± 2cm. | 0,08 | m3 | Local | 1700000 | 136000
3 | Formwork of lineconcrete -Wooden formwork/plywood/shaped steel/ Contractors propose measures to offer competitive prices | 0,38 | m2 | Local | 292100 | 111000
4 | Steel bars for foundation D<10mm - Construction, erection of reinforced columns, foundations, beams, floors, bracing stations, tanks of all types with BJTS240 | 1,58 | kg | Local | 23400 | 37000
5 | Surface smoothing by grinding | 1 | m2 | Local | 63000 | 63000
6 | Coating for foundation bases-2 coats of solvent-based epoxy topcoat, color RAL 5014 or approved equivalent. | 1 | m2 | Local | 82000 | 82000
Total | [5 empty] | 11297750

## 12S1P
BATTERY SWAP STATION 12 SLOT - 1P
Site Name:
Site Location:
BOQ BSS 1 UNIT 12 SLOT 1P VGREEN (JAVA ISLAND)
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 3300000
1 | Certificat NIDI | 11000 | VA |  | 73 | 803000
2 | Certificat SLO | 11000 | VA |  | 73 | 803000
3 | Service PLN Connection | 1 | Lot |  | 2300000 | 2300000
| Price adjustment | 1 |  |  | -606000 | -606000
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1150000
1 | Dynabolt BSS M12 | 1 | Set | Local | 250000 | 250000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 900000 | 900000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 1700000
1 | LT-PANEL electrical cabinet - 1 Pack BSS 12 PIN 1P | 1 | Unit | Outdooor Type | 1700000 | 1700000
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 4875000
1 | Cable Power NYYHY 3x16 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 175000 | 2625000
2 | Cable NYA 10mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 55000 | 275000
3 | Steel Conduit 40mm (1 1/2") | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 35000 | 525000
4 | Grounding | 1 | Pcs |  | 1000000 | 1000000
5 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 30000 | 450000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 500000 | 500000
F | Civil-foundation |  |  |  |  | 472750
1 | Cement slurry bonding layer and leveling shims | 0,63 | m2 | Local | 69500 | 43750
2 | Concrete foundation, foundation bracing -foundationConcrete with B20, slump 12 ± 2cm. | 0,08 | m3 | Local | 1700000 | 136000
3 | Formwork of lineconcrete -Wooden formwork/plywood/shaped steel/ Contractors propose measures to offer competitive prices | 0,38 | m2 | Local | 292100 | 111000
4 | Steel bars for foundation D<10mm - Construction, erection of reinforced columns, foundations, beams, floors, bracing stations, tanks of all types with BJTS240 | 1,58 | kg | Local | 23400 | 37000
5 | Surface smoothing by grinding | 1 | m2 | Local | 63000 | 63000
6 | Coating for foundation bases-2 coats of solvent-based epoxy topcoat, color RAL 5014 or approved equivalent. | 1 | m2 | Local | 82000 | 82000
Total | [5 empty] | 11997750
0

## 12S3P
BATTERY SWAP STATION 12 SLOT - 3P
Site Name:
Site Location:
BOQ BSS 1 UNIT 12 SLOT 3P VGREEN (JAVA ISLAND)
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 4000000
1 | Certificat NIDI | 13200 | VA |  | 73 | 963600
2 | Certificat SLO | 13200 | VA |  | 73 | 963600
3 | Service PLN Connection | 1 | Lot |  | 2500000 | 2500000
| Price adjustment | 1 |  |  | -427200 | -427200
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1150000
1 | Dynabolt BSS M12 | 1 | Set | Local | 250000 | 250000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 900000 | 900000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 2000000
1 | LT-PANEL electrical cabinet - 1 Pack BSS 12PIN 3P | 1 | Unit | Outdooor Type | 2000000 | 2000000
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 4277500
1 | Cable Power NYY 4x6 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 130000 | 1950000
2 | Cable NYA 10mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 61500 | 307500
3 | Steel Conduit 25mm (1") | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 38000 | 570000
4 | Grounding | 1 | Pcs |  | 1000000 | 1000000
5 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 30000 | 450000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 500000 | 500000
F | Civil-foundation |  |  |  |  | 472750
1 | Cement slurry bonding layer and leveling shims | 0,63 | m2 | Local | 69500 | 43750
2 | Concrete foundation, foundation bracing -foundationConcrete with B20, slump 12 ± 2cm. | 0,08 | m3 | Local | 1700000 | 136000
3 | Formwork of lineconcrete -Wooden formwork/plywood/shaped steel/ Contractors propose measures to offer competitive prices | 0,38 | m2 | Local | 292100 | 111000
4 | Steel bars for foundation D<10mm - Construction, erection of reinforced columns, foundations, beams, floors, bracing stations, tanks of all types with BJTS240 | 1,58 | kg | Local | 23400 | 37000
5 | Surface smoothing by grinding | 1 | m2 | Local | 63000 | 63000
6 | Coating for foundation bases-2 coats of solvent-based epoxy topcoat, color RAL 5014 or approved equivalent. | 1 | m2 | Local | 82000 | 82000
Total | [5 empty] | 12400250

## 6S1P (NON JAVA)
BATTERY SWAP STATION 6 SLOT - 1P
Site Name:
Site Location:
BOQ BSS 1 UNIT 6 SLOT VGREEN
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 3630000
1 | Certificat NIDI | 7700 | VA |  | 94.6 | 728420
2 | Certificat SLO | 7700 | VA |  | 94.6 | 728420
3 | Service PLN Connection | 1 | Lot |  | 2530000 | 2530000
| Price adjustment | 1 |  |  | -356840 | -356840
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1155000
1 | Dynabolt BSS M12 | 1 | Set | Local | 275000 | 275000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 880000 | 880000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 1650000
1 | LT-PANEL electrical cabinet - 1 Pack BSS 6 PIN 1P | 1 | Unit | Outdooor Type | 1650000 | 1650000
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 4922500
1 | Cable Power NYYHY 3x10 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 165000 | 2475000
2 | Cable NYA 6mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 55000 | 275000
3 | Steel Conduit 25mm (1") | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 38500 | 577500
4 | Grounding | 1 | Pcs |  | 1100000 | 1100000
5 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 33000 | 495000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 550000 | 550000
F | Civil-foundation |  |  |  |  | 520025
1 | Cement slurry bonding layer and leveling shims | 0,63 | m2 | Local | 76450 | 48125
2 | Concrete foundation, foundation bracing -foundationConcrete with B20, slump 12 ± 2cm. | 0,08 | m3 | Local | 1870000 | 149600
3 | Formwork of lineconcrete -Wooden formwork/plywood/shaped steel/ Contractors propose measures to offer competitive prices | 0,38 | m2 | Local | 321310 | 122100
4 | Steel bars for foundation D<10mm - Construction, erection of reinforced columns, foundations, beams, floors, bracing stations, tanks of all types with BJTS240 | 1,58 | kg | Local | 25740 | 40700
5 | Surface smoothing by grinding | 1 | m2 | Local | 69300 | 69300
6 | Coating for foundation bases-2 coats of solvent-based epoxy topcoat, color RAL 5014 or approved equivalent. | 1 | m2 | Local | 90200 | 90200
Total | [5 empty] | 12427525

## 12S1P (NON JAVA)
BATTERY SWAP STATION 12 SLOT - 1P
Site Name:
Site Location:
BOQ BSS 1 UNIT 12 SLOT 1P VGREEN
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 3630000
1 | Certificat NIDI | 11000 | VA |  | 80.3 | 883300
2 | Certificat SLO | 11000 | VA |  | 80.3 | 883300
3 | Service PLN Connection | 1 | Lot |  | 2530000 | 2530000
| Price adjustment | 1 |  |  | -666600 | -666600
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1265000
1 | Dynabolt BSS M12 | 1 | Set | Local | 275000 | 275000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 990000 | 990000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 1870000
1 | LT-PANEL electrical cabinet - 1 Pack BSS 12 PIN 1P | 1 | Unit | Outdooor Type | 1870000 | 1870000
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 5362500
1 | Cable Power NYYHY 3x16 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 192500 | 2887500
2 | Cable NYA 10mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 60500 | 302500
3 | Steel Conduit 40mm (1 1/2") | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 38500 | 577500
4 | Grounding | 1 | Pcs |  | 1100000 | 1100000
5 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 33000 | 495000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 550000 | 550000
F | Civil-foundation |  |  |  |  | 520025
1 | Cement slurry bonding layer and leveling shims | 0,63 | m2 | Local | 76450 | 48125
2 | Concrete foundation, foundation bracing -foundationConcrete with B20, slump 12 ± 2cm. | 0,08 | m3 | Local | 1870000 | 149600
3 | Formwork of lineconcrete -Wooden formwork/plywood/shaped steel/ Contractors propose measures to offer competitive prices | 0,38 | m2 | Local | 321310 | 122100
4 | Steel bars for foundation D<10mm - Construction, erection of reinforced columns, foundations, beams, floors, bracing stations, tanks of all types with BJTS240 | 1,58 | kg | Local | 25740 | 40700
5 | Surface smoothing by grinding | 1 | m2 | Local | 69300 | 69300
6 | Coating for foundation bases-2 coats of solvent-based epoxy topcoat, color RAL 5014 or approved equivalent. | 1 | m2 | Local | 90200 | 90200
Total | [5 empty] | 13197525

## 12S3P (NON JAVA)
BATTERY SWAP STATION 12 SLOT - 3P
Site Name:
Site Location: | [5 empty] | 1.1
BOQ BSS 1 UNIT 12 SLOT 3P VGREEN
NO | Item | VOLUME |  | MERK | UNIT PRICE | TOTAL PRICE
A | Sertifikat NINDI & SLO and Handling Fee | 1 | Lot |  |  | 4400000
1 | Certificat NIDI | 13200 | VA |  | 80.3 | 1059960
2 | Certificat SLO | 13200 | VA |  | 80.3 | 1059960
3 | Service PLN Connection | 1 | Lot |  | 2750000 | 2750000
| Price adjustment | 1 |  |  | -469920 | -469920
B | INSTALATION WORK - EV Charger | 1 | Unit |  |  | 1265000
1 | Dynabolt BSS M12 | 1 | Set | Local | 275000 | 275000
2 | Installation of Battery Swap Station | 1 | Unit | Local | 990000 | 990000
C | ELECTRICAL - Panel Distribution with acsoriess |  |  |  |  | 2200000
1 | LT-PANEL electrical cabinet - 1 Pack BSS 12PIN 3P | 1 | Unit | Outdooor Type | 2200000 | 2200000
D | CABLING AND ACCESSORIES INSTALLATION |  |  |  |  | 4705250
1 | Cable Power NYY 4x6 mm | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 143000 | 2145000
2 | Cable NYA 10mm | 5 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 67650 | 338250
3 | Steel Conduit 25mm (1") | 15 | Meter | Supreme/Kabel Metal/Jembo/BICC Berca | 41800 | 627000
4 | Grounding | 1 | Pcs |  | 1100000 | 1100000
5 | Cable trenching and re-alignment | 15 | Meter | Clipsal | 33000 | 495000
E | Biaya transport dan Survey (JAVA) | 1 | Lot |  | 550000 | 550000
F | Civil-foundation |  |  |  |  | 520025
1 | Cement slurry bonding layer and leveling shims | 0,63 | m2 | Local | 76450 | 48125
2 | Concrete foundation, foundation bracing -foundationConcrete with B20, slump 12 ± 2cm. | 0,08 | m3 | Local | 1870000 | 149600
3 | Formwork of lineconcrete -Wooden formwork/plywood/shaped steel/ Contractors propose measures to offer competitive prices | 0,38 | m2 | Local | 321310 | 122100
4 | Steel bars for foundation D<10mm - Construction, erection of reinforced columns, foundations, beams, floors, bracing stations, tanks of all types with BJTS240 | 1,58 | kg | Local | 25740 | 40700
5 | Surface smoothing by grinding | 1 | m2 | Local | 69300 | 69300
6 | Coating for foundation bases-2 coats of solvent-based epoxy topcoat, color RAL 5014 or approved equivalent. | 1 | m2 | Local | 90200 | 90200
Total | [5 empty] | 13640275